Non test area
OFFICES WING- 10
A152
X
A 154
A151
A153
ES1
ES2
A159
A161
A163
A160

---
SCIENCE ART WING- 7
BOILER ROOM
A144
ST
A141
A138
A139
A148
A146

---
STAIRS TO NON TEST AREA
CAFETERIA AREA-6
2-10-2025 Radon Testing 4.6
High test result
PE OFFICE
RR
A125
A141
x
A124
LIFE SKILLS
COCESSION-
NON TEST

---
BAND HALL-9
WRESTLING
LR
B103
B109
LR
office
B111
Vocal Office
BAND OFFICE
Trio
Office

---
BLK GYM/SHOP-5
STSHOP
B126
B132

---
GOLD GYM AREA-4
LR
C107
LR
TRAINING

---
DOWN STAIRS ADDITION- 10
STAIRS
KITCHEN
ELV
A111
A109
A109
A112
A106
A108
A107
FIRE EXT

---
ELV
A211
UPSTAIRS ADDITION
2ND STORY-1
A202
A210
A203
A204
A208
A201
A207
A205
A206
FIRE
EXT

---
BUS BARN-1

---
PAUL PETE FC-2
ENT
ENT

---
Floor Drain
High result
DISTRICT OFFICES-5
2-10-2025 Radon Testing
B5
 T2 3-3-2025 7.1
KITCHEN
B1
2-10-2025 4.8
T2 3-3-2025- 6.4
Low charcoal faulty test result
MECH
B4
B3
2-10-2025 9.3
2-10-2025 6.8
2-10-2025 5.0
T 2 3-3-2025 8.3
T2 3-3-2025 7.2
B2
T2 3-3-2025 6.7
T2 3-3-2025 6.9